## Student Info and Rubric (2)
Transducer Calibration Factor | 5 | psi/V
Density of Water | 998 | kg/m^3
Mass of water collected | 200 | lb | 90.7185 | kg
Dyno Mass | 1.502 | kg
D_1 (inlet) | 0.0508 | m
D_2 (outlet) | 0.0381 | m
D (impeller) | 0.108 | m | [6 empty] | 0.054
b (blade height at exit) | 0.009 | m
w (blade width at exit) | 0.0085 | m
Number of blades | 5
[24 empty] | head uncertainty | [11 empty] | coeffient uncertainty
|  |  | Transducer Output |  |  | Time to collect water |  |  |  |  | Transducer Head | [5 empty] | Head coeff | flow coeff | [6 empty] | Transducer Precision |  | Transducer Bias |  | Transducer Uncertainty |  | Transducer Head Uncertainty
Pump Configuration | Valve Configuration | Pump Speed | Pump 1 | Pump 2 | Moment arm | (s) |  |  | Nominal Time | Volumetric Flow | Pump 1 | Pump 2 | Nominal Transducer Head | Corrected Head | U | v_{2r} | $\Psi$ | $\Phi$ | time stdev | t-inv | $P_t$ | $B_t$ | $\delta_t$ | $\delta_Q$ | $P_{V_{\text{tr1}}}$ | $P_{V_{\text{tr2}}}$ | $B_{V_{\text{tr1}}}$ | $B_{V_{\text{tr2}}}$ | $\delta_{V_{\text{tr1}}}$ | $\delta_{V_{\text{tr2}}}$ | $\delta_{H_t1}$ | $\delta_{H_t2}$ | $\delta_{H_t}$ | $\delta_{H}$ | $\delta_U$ | $\delta_{v_{2r}}$ | $\delta_{\Psi}$ | $\delta_{Phi}$
|  | (RPM) | (V) | (V) | (cm) | Trial 1 | Trial 2 | Trial 3 | (s) | (m^3/s) | (m) | (m) | (m) | (m) | (m/s) | (m/s) |  |  | (s) |  | (s) | (s) | (s) | $\unit{\meter\cubed\per\second}$ | (V) | (V) | (V) | (V) | (V) | (V) | (m) | (m) | (m) | (m) | (m/s) | (m/s)
Single | Fully open | 1800 | 0.75 | 0 | 8.75 | 28.55 | 28.99 | 28.79 | 28.7767 | 0.0031588 | 2.6409 | 0 | 2.6409 | 2.9084 | 10.1788 | 1.1826 | 0.27538 | 0.11618 | 0.2203 | 4.3027 | 0.54726 | 0.2 | 0.58266 | 6.3959e-05 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0 | 0.035212 | 0.03684 | 0 | 0.023945 | 0.0034882 | 0.0023524
Single | Partial 1 | 1800 | 0.83 | 0 | 8.5 | 30.14 | 30.51 | 30.16 | 30.27 | 0.003003 | 2.9226 | 0 | 2.9226 | 3.1643 | 10.1788 | 1.1242 | 0.29961 | 0.11045 | 0.20809 | 4.3027 | 0.51692 | 0.2 | 0.55426 | 5.4986e-05 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0 | 0.035212 | 0.036308 | 0 | 0.020585 | 0.0034378 | 0.0020224
Single | Partial 2 | 1800 | 1.43 | 0 | 7.25 | 61.12 | 60.8 | 60.86 | 60.9267 | 0.001492 | 5.0353 | 0 | 5.0353 | 5.095 | 10.1788 | 0.55855 | 0.48242 | 0.054874 | 0.1701 | 4.3027 | 0.42255 | 0.2 | 0.46749 | 1.1448e-05 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0 | 0.035212 | 0.035224 | 0 | 0.0042858 | 0.0033352 | 0.00042105
Single | Closed | 1800 | 1.56 | 0 | 4.5 | 0 | 0 | 0 | 0 | 0 | 5.4931 | 0 | 5.4931 | 5.4931 | 10.1788 | 0 | 0.52011 | 0 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0 | 0.035212 | 0.035212 | 0 | 0 | 0.003334 | 0
Single | Fully open | 2700 | 1.5 | 0 | 16.5 | 18.66 | 18.93 | 18.55 | 18.7133 | 0.0048575 | 5.2818 | 0 | 5.2818 | 5.9143 | 15.2681 | 1.8185 | 0.24888 | 0.11911 | 0.19553 | 4.3027 | 0.48573 | 0.2 | 0.5253 | 0.00013635 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0 | 0.035212 | 0.050007 | 0 | 0.051047 | 0.0021044 | 0.0033434
Single | Partial 1 | 2700 | 1.62 | 0 | 16.5 | 19.23 | 19.23 | 18.96 | 19.14 | 0.0047492 | 5.7043 | 0 | 5.7043 | 6.3089 | 15.2681 | 1.778 | 0.26549 | 0.11645 | 0.15588 | 4.3027 | 0.38724 | 0.2 | 0.43584 | 0.00010814 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0 | 0.035212 | 0.044699 | 0 | 0.040487 | 0.001881 | 0.0026517
Single | Partial 2 | 2700 | 2.94 | 0 | 14.5 | 31.15 | 31.3 | 31.22 | 31.2233 | 0.0029113 | 10.3523 | 0 | 10.3523 | 10.5795 | 15.2681 | 1.0899 | 0.44521 | 0.071385 | 0.075056 | 4.3027 | 0.18645 | 0.2 | 0.27343 | 2.5495e-05 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0 | 0.035212 | 0.035436 | 0 | 0.0095445 | 0.0014912 | 0.00062513
Single | Closed | 2700 | 3.52 | 0 | 8.5 | 0 | 0 | 0 | 0 | 0 | 12.3946 | 0 | 12.3946 | 12.3946 | 15.2681 | 0 | 0.52159 | 0 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0 | 0.035212 | 0.035212 | 0 | 0 | 0.0014818 | 0
Single | Fully open | 3600 | 2.44 | 0 | 26.5 | 14.13 | 13.93 | 14.06 | 14.04 | 0.0064744 | 8.5917 | 0 | 8.5917 | 9.7153 | 20.3575 | 2.4238 | 0.22997 | 0.11906 | 0.10149 | 4.3027 | 0.25211 | 0.2 | 0.32181 | 0.0001484 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0 | 0.035212 | 0.062394 | 0 | 0.055556 | 0.0014769 | 0.002729
Single | Partial 1 | 3600 | 2.89 | 0 | 26.5 | 15.04 | 14.35 | 14.31 | 14.5667 | 0.0062403 | 10.1762 | 0 | 10.1762 | 11.2201 | 20.3575 | 2.3362 | 0.26559 | 0.11476 | 0.41041 | 4.3027 | 1.0195 | 0.2 | 1.0389 | 0.00044508 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0 | 0.035212 | 0.153 | 0 | 0.16662 | 0.0036218 | 0.0081849
Single | Partial 2 | 3600 | 5.85 | 0 | 20 | 37.01 | 37.04 | 37.07 | 37.04 | 0.0024541 | 20.599 | 0 | 20.599 | 20.7604 | 20.3575 | 0.91875 | 0.49142 | 0.045131 | 0.03 | 4.3027 | 0.074524 | 0.2 | 0.21343 | 1.4141e-05 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0 | 0.035212 | 0.035261 | 0 | 0.0052941 | 0.00083467 | 0.00026006
Single | Closed | 3600 | 6.18 | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 21.761 | 0 | 21.761 | 21.761 | 20.3575 | 0 | 0.51511 | 0 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0 | 0.035212 | 0.035212 | 0 | 0 | 0.00083351 | 0
Single | Manufacturer | 1800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.004 | 0 | 0 | 0 | 2.58 | 10.1788 | 1.4975 | 0.24429 | 0.14712 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Single | Manufacturer | 1800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0033 | 0 | 0 | 0 | 4.14 | 10.1788 | 1.2354 | 0.39199 | 0.12137 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Single | Manufacturer | 1800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0026 | 0 | 0 | 0 | 4.96 | 10.1788 | 0.97337 | 0.46964 | 0.095628 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Single | Manufacturer | 1800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0 | 0 | 0 | 5.4 | 10.1788 | 0.74875 | 0.5113 | 0.07356 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Single | Manufacturer | 2700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.006 | 0 | 0 | 0 | 5.77 | 15.2681 | 2.2462 | 0.24281 | 0.14712 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Single | Manufacturer | 2700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.005 | 0 | 0 | 0 | 9.12 | 15.2681 | 1.8719 | 0.38379 | 0.1226 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Single | Manufacturer | 2700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.004 | 0 | 0 | 0 | 11 | 15.2681 | 1.4975 | 0.4629 | 0.09808 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Single | Manufacturer | 2700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.003 | 0 | 0 | 0 | 12.1 | 15.2681 | 1.1231 | 0.50919 | 0.07356 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Single | Manufacturer | 2700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0 | 0 | 0 | 12.8 | 15.2681 | 0.74875 | 0.53865 | 0.04904 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Single | Manufacturer | 3600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.008 | 0 | 0 | 0 | 10.3 | 20.3575 | 2.995 | 0.24381 | 0.14712 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Single | Manufacturer | 3600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0067 | 0 | 0 | 0 | 16.1 | 20.3575 | 2.5083 | 0.38111 | 0.12321 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Single | Manufacturer | 3600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0054 | 0 | 0 | 0 | 19.2 | 20.3575 | 2.0216 | 0.45449 | 0.099306 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Single | Manufacturer | 3600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.004 | 0 | 0 | 0 | 21.6 | 20.3575 | 1.4975 | 0.5113 | 0.07356 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Single | Manufacturer | 3600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0027 | 0 | 0 | 0 | 22.8 | 20.3575 | 1.0108 | 0.5397 | 0.049653 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Parallel | Fully open | 2700 | 2.87 | 2.72 | 0 | 12.46 | 12.28 | 12.79 | 12.51 | 0.0072662 | 10.1058 | 9.5776 | 9.8417 | 11.257 | 15.2681 | 2.7203 | 0.47372 | 0.17817 | 0.25865 | 4.3027 | 0.64252 | 0.2 | 0.67293 | 0.00039086 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0.035212 | 0.024899 | 0.15428 | 0 | 0.14633 | 0.0064924 | 0.0095839
Parallel | Partial 1 | 2700 | 3.08 | 2.96 | 0 | 14.49 | 14.49 | 14.42 | 14.4667 | 0.0062834 | 10.8453 | 10.4227 | 10.634 | 11.6923 | 15.2681 | 2.3524 | 0.49204 | 0.15407 | 0.040415 | 4.3027 | 0.1004 | 0.2 | 0.22378 | 9.7198e-05 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0.035212 | 0.024899 | 0.041134 | 0 | 0.036388 | 0.001731 | 0.0023833
Parallel | Partial 2 | 2700 | 3.52 | 3.53 | 0 | 41.05 | 40.99 | 40.99 | 41.01 | 0.0022165 | 12.3946 | 12.4298 | 12.4122 | 12.5439 | 15.2681 | 0.82981 | 0.52787 | 0.054349 | 0.034641 | 4.3027 | 0.086053 | 0.2 | 0.21773 | 1.1768e-05 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0.035212 | 0.024899 | 0.024938 | 0 | 0.0044056 | 0.0010494 | 0.00028855
Parallel | Closed | 2700 | 3.55 | 3.55 | 0 | 0 | 0 | 0 | 0 | 0 | 12.5002 | 12.5002 | 12.5002 | 12.5002 | 15.2681 | 0 | 0.52604 | 0 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0.035212 | 0.024899 | 0.024899 | 0 | 0 | 0.0010478 | 0
Series | Fully open | 2700 | 0.68 | 1.68 | 0 | 16.64 | 16.17 | 16.03 | 16.28 | 0.0055836 | 2.3944 | 5.9156 | 8.31 | 9.1457 | 15.2681 | 2.0903 | 0.38487 | 0.13691 | 0.31953 | 4.3027 | 0.79376 | 0.2 | 0.81857 | 0.00028074 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0.035212 | 0.049797 | 0.097683 | 0 | 0.1051 | 0.0041107 | 0.0068838
Series | Partial 1 | 2700 | 0.9 | 1.84 | 0 | 16.71 | 16.58 | 16.76 | 16.6833 | 0.0054486 | 3.1691 | 6.479 | 9.6481 | 10.4438 | 15.2681 | 2.0398 | 0.4395 | 0.1336 | 0.092916 | 4.3027 | 0.23082 | 0.2 | 0.30541 | 9.9743e-05 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0.035212 | 0.049797 | 0.057694 | 0 | 0.037341 | 0.0024279 | 0.0024457
Series | Partial 2 | 2700 | 2.89 | 3.26 | 0 | 30.52 | 30.23 | 30.67 | 30.4733 | 0.0029829 | 10.1762 | 11.4791 | 21.6553 | 21.8938 | 15.2681 | 1.1167 | 0.92134 | 0.073142 | 0.22368 | 4.3027 | 0.55566 | 0.2 | 0.59055 | 5.7808e-05 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0.035212 | 0.049797 | 0.050648 | 0 | 0.021642 | 0.0021314 | 0.0014174
Series | Closed | 2700 | 3.52 | 3.55 | 0 | 0 | 0 | 0 | 0 | 0 | 12.3946 | 12.5002 | 24.8948 | 24.8948 | 15.2681 | 0 | 1.0476 | 0 | 0 | 4.3027 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.035212 | 0.035212 | 0.049797 | 0.049797 | 0 | 0 | 0.0020956 | 0
| beta_2 | 33
| cot(beta_2) | 1.5399

## Student Info and Rubric (hidden)
Transducer Calibration Factor | 5 | psi/V
Density of Water | 998 | kg/m^3
Mass of water collected | 200 | lb | 90.7185 | kg
Dyno Mass | 1.502 | kg
D_1 (inlet) | 0.0508 | m
D_2 (outlet) | 0.0381 | m
D (impeller) | 0.108 | m |  |  |  |  | 0.054
b (blade height at exit) | 0.009 | m
w (blade width at exit) | 0.0085 | m
Number of blades | 5
Single Pump Performance | [20 empty] | head uncertainty | [6 empty] | coeffient uncertainty
|  |  |  | Time to collect water | [9 empty] | Head coeff | flow coeff
Configuration | Pump Speed | Transducer Output | Moment arm | (s) |  |  | Nominal Time | Volumetric Flow | Transducer Head | this column is blank so it lines up with the parallel and series data | Corrected Head | U | v_{2r} | $\Psi$ | $\Phi$ | time stdev | t-inv | $P_t$ | $B_t$ | $\delta_t$ | $\delta_Q$ | $P_{V_{\text{tr}}}$ | $B_{V_{\text{tr}}}$ | $\delta_{V_{\text{tr}}}$ | $\delta_{H_t}$ | $\delta_{H}$ | $\delta_U$ | $\delta_{v_{2r}}$ | $\delta_{\Psi}$ | $\delta_{Phi}$
| (RPM) | (V) | (cm) | Trial 1 | Trial 2 | Trial 3 | (s) | (m^3/s) | (m) |  | (m) | (m/s) | (m/s) |  |  | (s) |  | (s) | (s) | (s) | $\unit{\meter\cubed\per\second}$ | (V) | (V) | (V) | (m) | (m) | (m/s) | (m/s)
Fully open | 1800 | 0.75 | 8.75 | 28.55 | 28.99 | 28.79 | 28.7767 | 0.0031588 | 2.6409 |  | 2.9084 | 10.1788 | 1.1826 | 0.27538 | 0.11618 | 0.2203 | 4.3027 | 0.54726 | 0.2 | 0.58266 | 6.3959e-05 | 0 | 0.01 | 0.01 | 0.026409 | 0.028544 | 0 | 0.023945 | 0.0027027 | 0.0023524
Partial 1 | 1800 | 0.83 | 8.5 | 30.14 | 30.51 | 30.16 | 30.27 | 0.003003 | 2.9226 |  | 3.1643 | 10.1788 | 1.1242 | 0.29961 | 0.11045 | 0.20809 | 4.3027 | 0.51692 | 0.2 | 0.55426 | 5.4986e-05 | 0 | 0.01 | 0.01 | 0.029226 | 0.030537 | 0 | 0.020585 | 0.0028914 | 0.0020224
Partial 2 | 1800 | 1.43 | 7.25 | 61.12 | 60.8 | 60.86 | 60.9267 | 0.001492 | 5.0353 |  | 5.095 | 10.1788 | 0.55855 | 0.48242 | 0.054874 | 0.1701 | 4.3027 | 0.42255 | 0.2 | 0.46749 | 1.1448e-05 | 0 | 0.01 | 0.01 | 0.050353 | 0.050361 | 0 | 0.0042858 | 0.0047684 | 0.00042105
Closed | 1800 | 1.56 | 4.5 | - | - | - | - |  | 5.4931 |  | 5.4931 | 10.1788 | 0 | 0.52011 | 0 |  | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0.054931 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Fully open | 2700 | 1.5 | 16.5 | 18.66 | 18.93 | 18.55 | 18.7133 | 0.0048575 | 5.2818 |  | 5.9143 | 15.2681 | 1.8185 | 0.24888 | 0.11911 | 0.19553 | 4.3027 | 0.48573 | 0.2 | 0.5253 | 0.00013635 | 0 | 0.01 | 0.01 | 0.052818 | 0.063644 | 0 | 0.051047 | 0.0026783 | 0.0033434
Partial 1 | 2700 | 1.62 | 16.5 | 19.23 | 19.23 | 18.96 | 19.14 | 0.0047492 | 5.7043 |  | 6.3089 | 15.2681 | 1.778 | 0.26549 | 0.11645 | 0.15588 | 4.3027 | 0.38724 | 0.2 | 0.43584 | 0.00010814 | 0 | 0.01 | 0.01 | 0.057043 | 0.063341 | 0 | 0.040487 | 0.0026655 | 0.0026517
Partial 2 | 2700 | 2.94 | 14.5 | 31.15 | 31.3 | 31.22 | 31.2233 | 0.0029113 | 10.3523 |  | 10.5795 | 15.2681 | 1.0899 | 0.44521 | 0.071385 | 0.075056 | 4.3027 | 0.18645 | 0.2 | 0.27343 | 2.5495e-05 | 0 | 0.01 | 0.01 | 0.10352 | 0.1036 | 0 | 0.0095445 | 0.0043597 | 0.00062513
Closed | 2700 | 3.52 | 8.5 | - | - | - | - |  | 12.3946 |  | 12.3946 | 15.2681 | 0 | 0.52159 | 0 |  | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0.12395 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Fully open | 3600 | 2.44 | 26.5 | 14.13 | 13.93 | 14.06 | 14.04 | 0.0064744 | 8.5917 |  | 9.7153 | 20.3575 | 2.4238 | 0.22997 | 0.11906 | 0.10149 | 4.3027 | 0.25211 | 0.2 | 0.32181 | 0.0001484 | 0 | 0.01 | 0.01 | 0.085917 | 0.10017 | 0 | 0.055556 | 0.0023712 | 0.002729
Partial 1 | 3600 | 2.89 | 26.5 | 15.04 | 14.35 | 14.31 | 14.5667 | 0.0062403 | 10.1762 |  | 11.2201 | 20.3575 | 2.3362 | 0.26559 | 0.11476 | 0.41041 | 4.3027 | 1.0195 | 0.2 | 1.0389 | 0.00044508 | 0 | 0.01 | 0.01 | 0.10176 | 0.18035 | 0 | 0.16662 | 0.0042691 | 0.0081849
Partial 2 | 3600 | 5.85 | 20 | 37.01 | 37.04 | 37.07 | 37.04 | 0.0024541 | 20.599 |  | 20.7604 | 20.3575 | 0.91875 | 0.49142 | 0.045131 | 0.03 | 4.3027 | 0.074524 | 0.2 | 0.21343 | 1.4141e-05 | 0 | 0.01 | 0.01 | 0.20599 | 0.206 | 0 | 0.0052941 | 0.0048762 | 0.00026006
Closed | 3600 | 6.18 | 13 | - | - | - | - |  | 21.761 |  | 21.761 | 20.3575 | 0 | 0.51511 | 0 | #DIV/0! | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0.21761 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Manufacturer | 1800 | [6 empty] | 0.004 |  |  | 2.58 | 10.1788 | 1.4975 | 0.24429 | 0.14712 | #DIV/0! | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Manufacturer | 1800 | [6 empty] | 0.0033 |  |  | 4.14 | 10.1788 | 1.2354 | 0.39199 | 0.12137 | #DIV/0! | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Manufacturer | 1800 | [6 empty] | 0.0026 |  |  | 4.96 | 10.1788 | 0.97337 | 0.46964 | 0.095628 | #DIV/0! | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Manufacturer | 1800 | [6 empty] | 0.002 |  |  | 5.4 | 10.1788 | 0.74875 | 0.5113 | 0.07356 | #DIV/0! | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Manufacturer | 2700 | [6 empty] | 0.006 |  |  | 5.77 | 15.2681 | 2.2462 | 0.24281 | 0.14712 | #DIV/0! | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Manufacturer | 2700 | [6 empty] | 0.005 |  |  | 9.12 | 15.2681 | 1.8719 | 0.38379 | 0.1226 | #DIV/0! | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Manufacturer | 2700 | [6 empty] | 0.004 |  |  | 11 | 15.2681 | 1.4975 | 0.4629 | 0.09808 | #DIV/0! | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Manufacturer | 2700 | [6 empty] | 0.003 |  |  | 12.1 | 15.2681 | 1.1231 | 0.50919 | 0.07356 | #DIV/0! | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Manufacturer | 2700 | [6 empty] | 0.002 |  |  | 12.8 | 15.2681 | 0.74875 | 0.53865 | 0.04904 | #DIV/0! | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Manufacturer | 3600 | [6 empty] | 0.008 |  |  | 10.3 | 20.3575 | 2.995 | 0.24381 | 0.14712 | #DIV/0! | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Manufacturer | 3600 | [6 empty] | 0.0067 |  |  | 16.1 | 20.3575 | 2.5083 | 0.38111 | 0.12321 | #DIV/0! | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Manufacturer | 3600 | [6 empty] | 0.0054 |  |  | 19.2 | 20.3575 | 2.0216 | 0.45449 | 0.099306 | #DIV/0! | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Manufacturer | 3600 | [6 empty] | 0.004 |  |  | 21.6 | 20.3575 | 1.4975 | 0.5113 | 0.07356 | #DIV/0! | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
Manufacturer | 3600 | [6 empty] | 0.0027 |  |  | 22.8 | 20.3575 | 1.0108 | 0.5397 | 0.049653 | #DIV/0! | 4.3027 | #DIV/0! | 0.2 | #DIV/0! | #DIV/0! | 0 | 0.01 | 0.01 | 0 | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0!
0
0
Parallel System Performance | [10 empty] | 0 | [6 empty] | 2.58
Configuration | Pump Speed | Transducer Output |  | Time to collect water |  |  |  |  | Transducer Head |  | #VALUE! |  |  | Head coeff | flow coeff |  |  | 4.14
|  | Pump 1 | Pump 2 |  |  |  | Nominal Time | Volumetric Flow | Pump 1 | Pump 2 | #VALUE! | U | v_{2r} | $\Psi$ | $\Phi$ |  |  | 4.96
| (RPM) | (V) |  | (s) |  |  | (s) | (m^3/s) | (m) |  | #VALUE! | (m/s) | (m/s) |  |  |  |  | 5.4
Fully open | 2700 | 2.87 | 2.72 | 12.46 | 12.28 | 12.79 | 12.51 | 0.0072662 | 10.1058 | 9.5776 | 11.5211 | 15.2681 | 2.7203 | 0.48483 | 0.17817 |  |  | 5.77
Partial 1 | 2700 | 3.08 | 2.96 | 14.49 | 14.49 | 14.42 | 14.4667 | 0.0062834 | 10.8453 | 10.4227 | 11.9036 | 15.2681 | 2.3524 | 0.50093 | 0.15407 |  |  | 9.12
Partial 2 | 2700 | 3.52 | 3.53 | 41.05 | 40.99 | 40.99 | 41.01 | 0.0022165 | 12.3946 | 12.4298 | 12.5263 | 15.2681 | 0.82981 | 0.52713 | 0.054349 |  |  | 11
Closed | 2700 | 3.55 | 3.55 | - | - | - |  |  | 12.5002 | 12.5002 | 12.5002 | 15.2681 | 0 | 0.52604 | 0 |  |  | 12.1
[11 empty] | 0 | [6 empty] | 12.8
Series System Performance | [10 empty] | 0 | [6 empty] | 10.3
Configuration | Pump Speed | Transducer Output |  | Time to collect water |  |  |  |  | Transducer Head |  | #VALUE! |  |  | Head coeff | flow coeff |  |  | 16.1
|  | Pump 1 | Pump 2 |  |  |  | Nominal Time | Volumetric Flow | Pump 1 | Pump 2 | #VALUE! | U | v_{2r} | $\Psi$ | $\Phi$ |  |  | 19.2
| (RPM) | (V) |  | (s) |  |  | (s) | (m^3/s) | (m) |  | #VALUE! | (m/s) | (m/s) |  |  |  |  | 21.6
Fully open | 2700 | 0.68 | 1.68 | 16.64 | 16.17 | 16.03 | 16.28 | 0.0055836 | 2.3944 | 5.9156 | 3.2301 | 15.2681 | 2.0903 | 0.13593 | 0.13691 |  |  | 22.8
Partial 1 | 2700 | 0.9 | 1.84 | 16.71 | 16.58 | 16.76 | 16.6833 | 0.0054486 | 3.1691 | 6.479 | 3.9648 | 15.2681 | 2.0398 | 0.16685 | 0.1336
Partial 2 | 2700 | 2.89 | 3.26 | 30.52 | 30.23 | 30.67 | 30.4733 | 0.0029829 | 10.1762 | 11.4791 | 10.4148 | 15.2681 | 1.1167 | 0.43827 | 0.073142
Closed | 2700 | 3.52 | 3.55 | - | - | - |  |  | 12.3946 | 12.5002 | 12.3946 | 15.2681 | 0 | 0.52159 | 0
33
1.5399